# PARALLEYE Technical Methodology

## Chapter 1 – System Philosophy and Complete Methodology Framework

Document: PARALLEYE Technical Methodology
Chapter: 1 – System Philosophy and Complete Methodology Framework
Version: 1.4
Status: Draft for Approval
Project: PARALLEYE Android MVP

# 1. Introduction

PARALLEYE is a smartphone-based preventive behavioural health system designed to encourage healthier posture habits during everyday smartphone use.

The system uses the smartphone’s built-in inertial sensors to monitor device orientation and estimate neck-flexion exposure in real time. It then interprets that measurement through a layered methodology incorporating activity classification, activity-dependent weighting, cumulative load accumulation, recovery, score normalisation and adaptive behavioural feedback.

PARALLEYE is therefore not intended to operate merely as a device-angle detector.

Its purpose is to transform objective sensor measurements into a personalised behavioural intervention that encourages gradual and sustainable improvement in smartphone posture habits.

# 2. Purpose of the Methodology

The PARALLEYE methodology is intended to:

- Monitor smartphone posture passively during normal use.

- Obtain objective device-orientation measurements from onboard sensors.

- Estimate neck-flexion exposure from the measured device orientation.

- Interpret posture within the context of the user’s current activity.

- Apply activity-specific load weighting.

- Accumulate posture exposure continuously over successive measurement intervals.

- Reduce accumulated load when the user corrects posture.

- Convert the accumulated behavioural state into a normalised 0–100 score.

- Trigger progressive feedback through Ms Angle Angel.

- Reward appropriate corrective behaviour.

- Preserve session and long-term progress information.

- Compare future behaviour with the user’s original baseline.

The methodology shall function as an integrated chain. No single measurement, score or alert state represents the complete system by itself.

# 3. Complete PARALLEYE Processing Chain

The complete methodology shall be understood as the following processing sequence:

Raw Sensor Data → Sensor Fusion and Filtering → Objective Device-Angle Measurement → Neck-Flexion Estimate → Non-Linear Angle-Load Mapping → Activity Classification → Engagement Context → Activity Multiplier → Frame-Based Dynamic Load → Cumulative Load → Stress-State Classification → Recovery → Normalised 0–100 Score → Responsiveness Adjustment → Progressive Mascot State → Behavioural Correction → Long-Term Progress

Each stage has a distinct role.

The implementation must keep these stages visible, independently testable and separately configurable.

The application must not be reduced to:

Angle crosses threshold → Alert appears

Such an implementation would omit the activity, accumulation, recovery, scoring and adaptive behavioural components that form the core of PARALLEYE.

# 4. PARALLEYE Is More Than an Angle Detector

An instantaneous angle alone does not indicate:

- How long the posture has been maintained.

- How frequently it has occurred.

- What the user is doing on the phone.

- How engaged the user is in that activity.

- Whether exposure is mild, moderate or severe.

- Whether posture has been corrected.

- Whether meaningful recovery has occurred.

- Whether an intervention is currently appropriate.

- Whether behaviour is improving over time.

PARALLEYE therefore treats angle as an objective input to a broader cumulative behavioural model.

The algorithm specification describes cumulative exposure as incorporating device angle, activity classification, exposure duration and recovery behaviour, with the resulting score driving the Ms Angle Angel intervention.

# 5. Major System Domains

The methodology is divided into two major domains:

## 5.1 Measurement Domain

The Measurement Domain determines what is objectively occurring.

It includes:

- Sensor acquisition.

- Sensor fusion.

- Signal filtering.

- Device orientation.

- Device-angle calculation.

- Neck-flexion estimation.

- Screen orientation.

- Activity observation and classification.

The Measurement Domain should answer:

What is objectively happening now?

Its outputs must remain independent of cumulative score, baseline adaptation and alert personalisation.

## 5.2 Behaviour Domain

The Behaviour Domain interprets objective measurements over time and determines the appropriate response.

It includes:

- Baseline calibration.

- Activity-specific weighting.

- Cumulative load.

- Stress-state classification.

- Recovery.

- Score normalisation.

- Responsiveness adjustment.

- Adaptive mascot behaviour.

- Session summaries.

- Long-term progress.

The Behaviour Domain should answer:

What does the current and accumulated exposure mean, and what behavioural intervention is appropriate?

The Behaviour Domain may personalise intervention, but it must not redefine the objective measurement generated by the Measurement Domain.

# 6. Sensor Acquisition Layer

The Sensor Acquisition Layer collects the raw engineering inputs required for posture monitoring.

The source specifications identify:

- Accelerometer.

- Gyroscope.

- Sensor fusion.

- A minimum sampling rate of 50 Hz in the initial algorithm specification.

This layer may also collect:

- Screen orientation.

- Sensor timestamps.

- Device movement.

- Rotation state.

- Sensor availability.

- Relevant system state.

The Sensor Acquisition Layer must not contain scoring, behavioural weighting or alert decisions.

# 7. Sensor Fusion and Signal Processing Layer

Raw sensor information must be stabilised before being used by the methodology.

The system should account for:

- Sensor noise.

- Sudden transient movement.

- Device vibration.

- Rotation changes.

- Portrait and landscape use.

- Temporary loss of sensor readings.

- Sampling irregularities.

- Accelerometer drift or instability.

- Gyroscope drift where applicable.

The filed invention identifies complementary or Kalman filtering as possible sensor-fusion approaches.

The exact filtering method shall be documented in the technical implementation chapter.

# 8. Objective Angle Measurement Layer

The Angle Measurement Layer determines the physical orientation of the device relative to the selected reference frame.

The source documents describe the following device-angle formula:

θ = arccos(Z / √(X² + Y² + Z²))

where X, Y and Z are accelerometer-axis values.

The filed invention similarly states that the angle increases as the phone rotates from vertical toward a more horizontal position.

This layer must define:

- The meaning of 0°.

- The direction of increasing angle.

- Axis handling.

- Signed or unsigned output.

- Portrait operation.

- Landscape operation.

- Screen-rotation transitions.

- Filtering.

- Transient rejection.

- Update frequency.

The live angle must be derived from current sensor information.

The user’s baseline must not offset, bias, redefine or replace the objective live-angle output.

# 9. Neck-Flexion Estimation Layer

The filed invention distinguishes between measured phone orientation and estimated neck flexion.

It describes phone tilt as a proxy and includes an approximate relationship involving device angle and a proportionality factor, potentially adjusted using height and other onboarding information.

For the implementation, the system must clearly distinguish:

- Measured device angle

- Estimated neck-flexion angle

- Angle-load value

- Behavioural feedback state

These must not be treated as interchangeable values.

Any transformation from device angle to estimated neck flexion must be explicitly documented, configurable and validated.

Where the exact transformation remains unresolved, the application must preserve the measured device angle separately and must not conceal a provisional estimate as a validated anatomical measurement.

# 10. Posture Zones

The methodology uses posture zones to classify angle severity.

The source documents describe the following initial population zones:

- Green: 0°–20°

- Yellow: 21°–25°

- Red: 26° and above

These zones represent increasing levels of posture exposure.

The zones must not be automatically shifted merely because the user’s original posture is poor.

Calibration may influence behavioural progression, alert timing or personalisation, but it must not silently redefine the objective zone boundaries.

All zone values shall remain centrally configurable for pilot refinement.

Revision note: the Green/Yellow boundary and the corresponding angle-load band have been raised from 15° to 20°, matching the pilot-informed update recorded in Chapter 5. The Red Zone boundary (26°) is unchanged.

# 11. Non-Linear Angle-Load Mapping Layer

The objective angle is not accumulated directly.

It is first converted into an angle-load value representing the severity of exposure.

The algorithm specification defines an initial non-linear mapping:

| Angle range | Initial load value |
| --- | --- |
| 0°–20° | 0 |
| 21°–25° | 2 |
| 26°–35° | 4 |
| 36°–45° | 6 |
| 46°–60° | 8 |
| 61°+ | 10 |

This non-linear mapping ensures that increasing angle severity contributes progressively greater load.

The filed invention also identifies non-linear mapping between angle and load factor as a preferred part of the cumulative model.

The Angle-Load Mapping Layer must remain separate from:

- Raw angle calculation.

- Activity weighting.

- Cumulative load.

- Score calculation.

- Alert behaviour.

# 12. Activity Classification Layer

The system should classify the current smartphone activity where sufficient evidence exists.

The core activity categories described in the source documents are:

- Video watching.

- Scrolling or browsing.

- Typing.

- Gaming.

The Android patent description identifies possible use of:

- Foreground application information.

- Application category.

- Keyboard-active state.

- Messaging or email context.

- UsageStatsManager or equivalent platform signals.

The classification system may additionally use:

- Device movement patterns.

- Touch-interaction behaviour.

- Device orientation.

- Platform-specific signals.

The activity module must remain modular and independently adjustable.

Where the available evidence is insufficient, the system should classify the activity as:

- General use, or

- Unknown.

The system must not fabricate a specific activity category.

# 13. Engagement Context Layer

Activity classification describes what the user is doing.

Engagement context describes how strongly or continuously the user is interacting with the activity.

The filed invention identifies engagement state as a factor that may modify biomechanical load weighting.

Engagement indicators may include:

- Interaction frequency.

- Continuous-use duration.

- Touch intensity.

- Typing continuity.

- Device stability.

- Resistance to correction.

- Rapid return to poor posture.

- Dismissal behaviour.

Engagement context must not alter the live measured angle.

It may influence:

- Activity weighting.

- Alert urgency.

- Alert timing.

- Responsiveness assessment.

- Behavioural adaptation.

Any use of engagement context must be explicitly defined and testable.

# 14. Activity-Specific Multiplier Layer

Each activity may be assigned a multiplier representing its behavioural or biomechanical weighting.

The multiplier must not alter the angle itself.

It modifies the dynamic load contribution used by the cumulative model.

The two source documents contain different initial multiplier sets.

## 14.1 Algorithm Specification Values

| Activity | Multiplier |
| --- | --- |
| Video watching | 1.0 |
| Scrolling | 1.3 |
| Typing | 1.6 |
| Gaming | 2.0 |

## 14.2 Patent Document Values

| Activity | Multiplier |
| --- | --- |
| Video watching | 0.8 |
| Scrolling or browsing | 1.0 |
| Typing | 1.3 |
| Gaming | 1.5 |

These values must not be silently merged.

For the MVP:

- Multipliers shall be stored centrally.

- The active multiplier set shall be clearly identified.

- All values shall remain configurable.

- The selected values shall be recorded in the configuration and technical handover documents.

- Pilot data may be used to refine them.

The methodology principle is fixed even where the initial numbers remain provisional:

Activity provides context and modifies behavioural load; it does not modify objective angle measurement.

# 15. Frame Factor and Dynamic Load Layer

The frame factor converts an instantaneous angle-load value into an incremental contribution that can accumulate over repeated sensor evaluation cycles.

The initial algorithm specification defines:

Dynamic Load Increment =

Angle Load × Activity Multiplier × Frame Factor

and gives an initial frame factor of 0.02.

The filed invention explains that repeated frame-based accumulation captures exposure duration implicitly across successive sensor updates.

The implementation must ensure that the frame factor behaves consistently across:

- Different sensor sampling rates.

- Temporary sensor delays.

- Device performance differences.

- Paused monitoring.

- Screen-off states.

- Restart events.

- Orientation changes.

The frame factor must remain configurable.

It must not be scattered as a hard-coded value throughout the application.

# 16. Continuous Cumulative-Load Layer

PARALLEYE treats posture strain as an exposure that develops over time.

The cumulative-load model shall continuously update during valid active monitoring.

The initial formula is:

Cumulative Load +=

Angle Load × Activity Multiplier × Frame Factor

Cumulative load allows PARALLEYE to distinguish between:

- Brief movement.

- Occasional poor posture.

- Sustained poor posture.

- Repeated exposure.

- High-severity prolonged exposure.

- Corrected posture.

- Incomplete recovery.

Cumulative load is the principal state connecting:

- Measurement.

- Activity context.

- Exposure duration.

- Recovery.

- Score.

- Mascot behaviour.

The implementation must define when accumulation:

- Starts.

- Pauses.

- Stops.

- Resumes.

- Persists.

- Resets.

- Carries into session summaries.

- Contributes to long-term history.

# 17. Stress-State Classification Layer

The cumulative-load value may be mapped into behavioural strain states.

The filed invention identifies:

- Low.

- Moderate.

- High.

- Severe.

These states are associated with progressively stronger mascot behaviour.

The Stress-State Layer provides an intermediate behavioural interpretation between cumulative load and visible feedback.

It should answer:

What level of behavioural intervention is currently appropriate?

Stress-state thresholds shall remain centrally configurable.

# 18. Recovery Layer

Recovery recognises sustained posture correction.

The filed methodology states that recovery occurs when the angle falls below the low-angle threshold and becomes stronger as the device approaches neutral orientation.

One filed formula is:

Recovery = 0.3 × ((15° − θ) / 15)

for angles below 15°.

The algorithm specification contains a different initial implementation description:

- Angle below 15°.

- Minimum duration of 120 continuous seconds.

- Recovery rate of 0.30 per cycle.

These source descriptions are not identical.

The final implementation must therefore separately define:

- Recovery activation angle.

- Qualification duration.

- Recovery delay.

- Recovery function.

- Recovery rate.

- Maximum recovery per cycle.

- Relationship to sampling rate.

- Whether recovery is proportional to correction quality.

- Minimum cumulative load of zero.

- Interaction with session history.

- Interaction with current score.

- Interaction with mascot retreat.

Recovery should reward meaningful correction while rejecting brief, accidental movements.

Recovery may improve the current behavioural state without deleting historical exposure records.

# 19. Score Normalisation Layer

PARALLEYE displays a normalised posture score from 0 to 100.

The source documents define the score as primarily derived from cumulative load.

An initial algorithm formula is:

Score = 100 − (Cumulative Load × Scaling Factor)

with the result clamped between 0 and 100.

The filed invention additionally includes a responsiveness component:

Score =

max(0, 100 − (Cumulative Load × Scaling Factor))

+ Responsiveness Adjustment

The score should generally behave as follows:

- 100 represents no or minimal accumulated strain.

- Lower scores represent increasing cumulative exposure.

- The score decreases as cumulative load increases.

- The score improves as recovery reduces current load.

- Responsiveness may provide an additional behavioural adjustment.

- The score must remain within the 0–100 range.

- Historical summaries must remain separate from the live score.

The score must not be calculated directly from instantaneous angle alone.

# 20. Responsiveness and Positive Reinforcement Layer

PARALLEYE should recognise whether the user responds appropriately to feedback.

The source documents describe two different initial reinforcement approaches.

The algorithm specification includes:

- Alert triggered.

- Posture corrected.

- Green Zone maintained for 30 seconds.

- +2 score bonus.

- Maximum three rewards per session.

The patent document includes:

- +5 points for prompt correction.

- −3 points when an alert is dismissed without correction.

The exact bonus, penalty, timing and session limits remain provisional.

However, the behavioural principle is part of the methodology:

The system should distinguish between dismissing an alert and genuinely correcting posture.

The implementation must store responsiveness parameters centrally and identify which rules are active.

20.1 Selected Responsiveness Values

A deliberate hybrid is selected for the Android MVP rather than adopting either source document as-is: the patent’s reward size (+5 points for prompt correction) is used, but the patent’s −3-point dismissal penalty is not adopted. No penalty shall be applied for dismissing an alert without correcting. This decision is made to remain consistent with the Master Project Brief’s explicit requirement that Ms Angle Angel “should never feel punitive or annoying” and that the application should “avoid creating anxiety or frustration” — a score penalty for dismissal is a punitive mechanic and is therefore excluded even though it appears in the filed patent.

# 21. Adaptive Mascot Layer

Ms Angle Angel represents the visible behavioural intervention.

Her behaviour must be driven by cumulative behavioural state rather than by raw angle alone.

The source documents define a progressive four-stage presentation:

- Idle

- Peek

- Peel

- Full alert

The filed invention similarly describes the mascot as:

- Hidden.

- Peeking from the corner.

- Partially emerging through a screen-peel interaction.

- Fully visible with a correction prompt.

The alert is therefore progressive rather than binary.

The general behavioural sequence is:

- Cumulative exposure increases.

- The stress state changes.

- Ms Angle Angel progresses through the appropriate display state.

- The user may tap to dismiss the visible alert.

- Dismissal does not equal posture correction.

- If posture remains uncorrected, the alert may reappear after the defined interval.

- When posture is corrected and maintained, Ms Angle Angel retreats.

- Recovery begins or continues.

- The score improves.

- Future poor posture is evaluated through the normal methodology.

The mascot must not remain permanently suppressed merely because the user tapped it.

# 22. Alert-State Thresholds

The two source documents contain different initial score ranges for mascot states.

## 22.1 Algorithm Specification

| State | Score range |
| --- | --- |
| Idle | 80–100 |
| Peek | 60–79 |
| Peel | 40–59 |
| Full alert | 0–39 |

## 22.2 Patent Document

| State | Score range |
| --- | --- |
| Idle | 75–100 |
| Peek | 50–74 |
| Peel | 25–49 |
| Full alert | 0–24 |

The implementation must use one explicitly selected configuration set.

All state boundaries must remain configurable for pilot testing.

The source differences must be recorded rather than silently reconciled.

22.3 Selected Alert-State Thresholds

The patent document’s score ranges (Idle 75–100, Peek 50–74, Peel 25–49, Full Alert 0–24) are selected for the Android MVP. This follows the source-of-truth hierarchy (Chapter 2, Section 3), and is further supported by pilot handheld testing showing that the tighter Algorithm Specification bands contributed to alerts firing excessively even at low sensitivity.

# 23. Calibration as the Bridge Between Measurement and Behaviour

Calibration connects the objective engineering system with the personalised behavioural system.

It is intended to establish the user’s initial posture and usage pattern so that feedback can be delivered progressively rather than as a generic one-size-fits-all intervention.

The filed document describes possible baseline variables including:

- Height.

- Typical phone-hold angle by activity.

- Duration at each angle.

- Pickup frequency.

- Portrait and landscape use.

- Typing-session duration.

The initial algorithm specification requires collection of:

- Age.

- Gender.

- Height.

It also states that these values may be only partially used in the MVP.

The calibration principle shall be:

Calibration personalises behavioural intervention; it does not redefine objective measurement.

Calibration may influence:

- Alert progression.

- Behavioural goals.

- Feedback timing.

- Initial improvement targets.

- Long-term comparisons.

- Progress reporting.

Calibration must not:

- Alter the physical meaning of the live angle.

- Automatically subtract the baseline from the live angle.

- Treat the starting posture as permanently safe.

- Hide poor posture by redefining objective zones.

- Replace the live sensor calculation.

- Recalibrate automatically during normal use.

The original baseline should remain stored for as long as the application remains installed, unless the user deliberately resets the profile or begins a clearly defined new assessment.

# 24. Current State, Session State and Historical State

PARALLEYE must distinguish three levels of information.

## 24.1 Current State

May include:

- Live device angle.

- Estimated neck-flexion angle.

- Posture zone.

- Current activity.

- Engagement state.

- Activity multiplier.

- Current dynamic load.

- Current cumulative load.

- Current stress state.

- Current score.

- Current recovery state.

- Current mascot state.

## 24.2 Session State

May include:

- Session duration.

- Average score.

- Minimum and maximum score.

- Time in each posture zone.

- Activity distribution.

- Number of alerts.

- Number of dismissals.

- Number of corrections.

- Recovery periods.

- Responsiveness events.

- Cumulative session load.

The algorithm specification identifies these as required session-summary metrics.

## 24.3 Historical State

May include:

- Daily score.

- Weekly trend.

- Monthly trend.

- Change from original baseline.

- Alert-frequency trends.

- Correction-response trends.

- Time spent in higher-load zones.

- Activity-specific exposure trends.

- Long-term behavioural improvement.

Immediate recovery should improve the current score but should not erase historical exposure records.

# 25. Long-Term Progress Layer

PARALLEYE is intended to support sustained behaviour change.

Long-term progress may be evaluated through:

- Reduced time in higher-risk angle ranges.

- Reduced cumulative load.

- Improved average score.

- Faster correction following alerts.

- Fewer repeated alerts.

- Longer periods of acceptable posture.

- Better recovery behaviour.

- Improvement relative to the original baseline.

- Improvement across specific activity types.

The baseline should remain a stable reference for demonstrating improvement over weeks and months.

# 26. Institutional and Future Deployment Layer

The filed invention includes future institutional capabilities such as:

- School administrator dashboard.

- Parent view.

- Clinician or health-professional access.

- Class-level and population-level longitudinal data.

These features are not required for the initial local Android APK unless separately approved.

However, the core data model and architecture should not prevent future:

- Cloud synchronisation.

- School dashboards.

- Parent reporting.

- Research analytics.

- Longitudinal population monitoring.

# 27. Privacy Philosophy

PARALLEYE should perform its core function without visual or audio surveillance.

The filed invention specifies:

- No camera.

- No microphone.

- No biometric data collection.

The MVP should:

- Use only the sensors and system information required for the methodology.

- Store data locally unless cloud functionality is separately approved.

- Explain permissions clearly.

- Allow user-controlled data reset.

- Avoid unnecessary personal-data collection.

- Protect stored profile and posture information.

# 28. Parameter Governance

Every threshold, timer, multiplier, factor, coefficient, rate and score boundary must be:

- Stored centrally.

- Named clearly.

- Documented.

- Version-controlled.

- Independently adjustable.

- Included in technical handover documentation.

- Covered by tests.

This includes:

- Sampling rate.

- Filter parameters.

- Zone thresholds.

- Angle-load values.

- Activity multipliers.

- Frame factor.

- Recovery threshold.

- Recovery qualification time.

- Recovery rate.

- Scaling factor.

- Responsiveness bonuses.

- Responsiveness penalties.

- Mascot-state thresholds.

- Dismissal interval.

- Reappearance interval.

- Sensitivity adjustments.

- Portrait and landscape differences.

The algorithm specification explicitly identifies the major values as configurable throughout development and pilot testing.

Where the two source documents contain conflicting initial values, the conflict must be recorded in the configuration documentation and an active set must be explicitly selected.

# 29. Scientific and Engineering Integrity

Each methodology component must be independently visible and testable.

The implementation must not hide the complete behaviour inside one unexplained score function.

The following components require separate documentation and testing:

- Sensor acquisition.

- Sensor fusion.

- Device-angle calculation.

- Neck-flexion estimation.

- Angle-load mapping.

- Activity classification.

- Engagement-state assessment.

- Activity multiplier.

- Frame factor.

- Dynamic-load calculation.

- Cumulative-load accumulation.

- Stress-state classification.

- Recovery.

- Score normalisation.

- Responsiveness adjustment.

- Mascot-state logic.

- Calibration.

- Long-term progress.

Where a parameter is provisional, it must be labelled provisional rather than presented as clinically validated.

# 30. Guiding Methodology Principle

Every technical and behavioural component of PARALLEYE should preserve the following principle:

Objective sensor measurement provides the device angle. The device angle is translated into an estimated posture exposure and a non-linear angle-load value. Activity and engagement provide context. Activity multipliers modify dynamic load. Repeated frame-based updates create cumulative exposure. Corrected posture activates recovery. Cumulative load and recovery determine the normalised score. The score and stress state drive progressive Ms Angle Angel feedback. Responsiveness and long-term comparison support sustained behaviour change.

This complete methodology—not angle detection alone—is the foundation of PARALLEYE.

# 31. Chapter Summary

PARALLEYE is an integrated, layered behavioural system.

Its methodology consists of:

- Sensor acquisition.

- Sensor fusion and filtering.

- Objective device-angle measurement.

- Neck-flexion estimation.

- Posture-zone classification.

- Non-linear angle-load mapping.

- Activity classification.

- Engagement context.

- Activity-specific weighting.

- Frame-based dynamic-load calculation.

- Continuous cumulative-load accumulation.

- Stress-state classification.

- Recovery following correction.

- Normalisation to a 0–100 score.

- Responsiveness adjustment.

- Progressive Ms Angle Angel intervention.

- Calibration-based behavioural personalisation.

- Session and long-term progress tracking.

Calibration connects the objective Measurement Domain with the personalised Behaviour Domain without altering the live angle calculation.

All subsequent chapters shall define these layers in greater technical and operational detail.